## Sheet1
2019 Data
Chiller Loop 6 | Annual Energy Use (kWh) | Peak Energy (kW)
Berthoud Hall | 855427.6 | 194 | Note: skewed meter
Brown Hall | 2312792 | 254
CoorsTek | 1738010 | 315.6
Elm Hall | 1671105.4 | 360
Maple Hall | 575228 | 116
Weaver Towers | 413916 | 87.3
Welcome Center | 378753.2 | 125
Chiller Plant 6 | 1785936 | 684
Total | 9731168.2 | 2135.9
Chiller Loop 7
Coolbaugh Hall | 2265402 | 505 | Note: skewed meter
Green Center | 746254 | 300
Hill Hall | 3313395 | 595
Chiller Plant 7 | 854254 | 300
Total | 7179305 | 1700
Chiller Loop 4:
| Electric Consumption 2019 (kWh): | Peak Demand 2019 (kW):
Guggenheim | 253747 | 53
Library | 1002718 | 369
Volk Gym | 640227.7 | 147
C. Building | 0 | 0
Total: | 1896692.7 | 569
Chiller Loop 5:
| Electric Consumption 2019 (kWh): | Peak Demand 2019 (kW):
USGS: | 953973 | 196
Alderson Hall: | 2179888.8 | 342
CTLM: | 2449463 | 735.7
Marquez: | 663095.6 | 139.2
Total: | 6246420.4 | 1412.9
Additional Building Loop:
| Electric Consumption 2019 (kWh): | Peak Demand 2019 (kW):
Rec Center: | 1426566 | 265
Student Center: | 975756 | 354
Wellness Center: | 112736 | 35
Traditional Dorms: | 253164.6 | 60
Total: | 2768222.6 | 714